## Slide 1
Gas simulations with Monte Carlo methods
20th IUVSTA school on Vacuum Gas Dynamics
17-21 September 2023, Porquerolles - Roberto Kersevan

## Slide 2: The problem

## Slide 4
LHC Pressure: below 0.0000000000001 * atmosphere (10-10 mbar)
Pump
Pump
LHC dipole
LHC dipole
Pump
Gauges
Pumps
Valves
Venting
Leak detection
Bakeout

## Slide 5
High pressure: fluid dynamics
High vacuum: random walk
Pumping by suction
Pumping by capture

## Slide 6: Analytic methods
p=Q/S
Q=C*dp
Gas throughput
Pumping speed
Pressure
Gas input
Conductance
Pressure difference

## Slide 7
Difficulty: Conductance

## Slide 9: The idea: Monte Carlo method
Circle
R=1
Area=3.14

## Slide 10: Monte Carlo

## Slide 11
Geometry: polygons
Gas input:
pV=NkT
1 Pa*m3/s = 2.4*1020 molecules/s
Virtual / Physical particle ratio
Monte Carlo simulations

## Slide 12
S [m3/s] = sticking [0..1] * 1/4 * A [m2] * vavg [m/s]
Pumping / absorption
Reflection

## Slide 13
Entrance
Exit
Monte Carlo

## Slide 14
Molflow (1990)
Roberto Kersevan
Molflow+ (2008-)
molflow

## Slide 15
Step 1: creating geometry
CAD
Molflow+
STL format
WORKING WITH MOLFLOW

## Slide 16
Step 2: adding physics

## Slide 17
Step 3: simulation and results
WORKING WITH MOLFLOW

## Slide 18
100 molecules

## Slide 19
1000 molecules

## Slide 20
10k molecules

## Slide 21
100k molecules